## Service Line Inventory
DEP_10-S_00014.3 |  |  | Service Line Inventory Report
06/2022 |  |  | New Jersey Department of Environmental Protection
Division of Water Supply and Geoscience - Water System Operations Element
I. System Information |  |  |  | II. Contact Information for Owner/ Licensed Operator of Record Completing the Form
Water System Name: | Aqua NJ _ Spartan Village |  |  | Contact Name: |  | ALISSA VANIM
PWSID Number: | NJ0326004 |  |  | Contact Title: |  | MANAGER OF ENVIRONMENTAL COMPLIANCE
|  |  |  | Contact Phone: |  | 609.587.4080
|  |  |  | Contact Email: |  | ARVANIM@AQUAAMERICA.COM
III. Inventory Information
Owner of Service Lines:
[9 empty] | Selection | Number of sites
I. Lead | [9 empty] | 0
II. Galvanized | [9 empty] | 0
III. Lead gooseneck, pigtail, or connector | [9 empty] | 0
IV. Lead Status Unknown | [9 empty] | 0
V. Non-lead | [9 empty] | 217
|  | # of LSLs to be replaced/identified: |  | 0 |  |  | # of LSLs to be replaced annually: |  |  | 0
|  | Total # of service lines in PCWS: |  | 217 |  |  | # of known LSLs |  |  | 0
IV. Inventory Availability
This inventory has been made publicly accessible by:
| If 3,300 customers or greater: Posting the inventory on my water system's website | [5 empty] | Website: | https://www.aquaamerica.com/our-states/new-jersey.aspx
| If under 3,300 customers: Posting the inventory in a publicly accessible place, if a website is not available | [5 empty] | Inventory is available via: |  |  | Website above
V. Certifications
By submitting this form, I have verified and certify the information listed in this form is true and accurate to the best of my knowledge and belief.
| Water System Owner or Licensed Operator Name |  |  |  | Date |  |  | Title (if WS Owner)
| Email |  |  |  | Phone Number |  |  | License Number (if LO)
*This form must be submitted by the Water System Owner or its Licensed Operator of Record.*
Property Owner
System
Both

## Service Line Inventory Table
PBCU Sample Site ID (e.g. PBCU01) (Optional) | Street Address | Zip Code | Town | Lot (Optional) | Block (Optional) | Easting (X) (Optional) | Northing (Y) (Optional) | Latitude (Optional) | Longitude (Optional) | Locational Identifier (Optional) | Service Line Category | Suspected to be lead? (Y/N) (Complete if answered UL for column L) | Public Service Line Materials | Public Service Line - Other Materials (Provide only if Column N is indicated as O) | Customer Service Line Materials | Customer Service Line - Other Materials (Only provide if Column P is indicated as O) | PWS Service Line Install Date (Optional) | Customer Service Line Install Date (optional) | Service Line Length (ft.) (Optional) | PCWS Service Line - Verification Source | PCWS Service Line - Other Source (Provide only if Column U is indicated as O) | PCWS Service Line - Reasoning | PCWS Service Line - Steps to be Taken to ID | Customer Service Line - Verification Source | Customer Service Line - Other Source (Provide only if Column Y is indicated as O) | Customer Service Line- Reasoning | Customer Service Line - Steps to be Taken to ID | Attachments (Y/N) (Optional) | PCWS Service Line Diameter (Optional)2 | Customer Service Line Diameter (optional) | Building Type (Optional) | PCWS Comments (Optional) | DEP Comments
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 1, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0434 | '-74.61764404 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 2, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0433 | '-74.61748272 |  | NL |  | C |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 3, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0433 | '-74.6172284 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 4, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0433 | '-74.6170485 |  | NL |  | C |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 5, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0432 | '-74.6168872 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 6, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0432 | '-74.61665764 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 7, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0431 | '-74.61646534 |  | NL |  | P |  | O | NOT LEAD |  |  |  | F1, O | Institutional Knowledge
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 8, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0431 | '-74.61627303 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 9, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.043 | '-74.61604353 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 10, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.043 | '-74.61583637 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 11, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0429 | '-74.61562544 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 12, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0429 | '-74.61539209 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 13, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0428 | '-74.61518738 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 14, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0428 | '-74.61498267 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 15, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0427 | '-74.6148128 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 16, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0427 | '-74.61456083 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 17, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0427 | '-74.61436854 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 18, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0426 | '-74.61415762 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 19, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0426 | '-74.61395295 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 20, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0426 | '-74.61376067 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 21, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0426 | '-74.61357461 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 22, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0425 | '-74.61335131 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD LOT 23, WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.0425 | '-74.61313424 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 24, WRIGHTSTOWN, NJ, 08562-1541 | 08562-1541 | WRIGHTSTOWN |  |  |  |  | 40.0425 | '-74.6129854 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 25, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0425 | '-74.61276833 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 26, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0425 | '-74.61257606 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 27, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0425 | '-74.61235899 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 28, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0424 | '-74.61217912 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 29, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0424 | '-74.61196825 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 30, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0424 | '-74.61178599 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 31, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0424 | '-74.6115403 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 32, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0424 | '-74.61134649 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 33, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0424 | '-74.61112943 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD LOT 35, WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.0423 | '-74.61071853 |  | NL |  | P |  | O | NOT LEAD |  |  |  | F1, O | Institutional Knowledge
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 36, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0423 | '-74.6105092 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 37, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0423 | '-74.61031539 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 39, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0423 | '-74.61011382 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 40, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0422 | '-74.6099045 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 41, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0422 | '-74.60968741 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 42, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0422 | '-74.60941621 |  | NL |  | C |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 43, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0422 | '-74.60926369 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 44, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0421 | '-74.60906173 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 45, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0421 | '-74.60883632 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 46, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0421 | '-74.6085995 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 47, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0421 | '-74.6083656 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 48, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0421 | '-74.60811648 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 49, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.042 | '-74.60784159 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 50, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.042 | '-74.60755148 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD LOT 50B, WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.041 | '-74.61306197 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 51, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0429 | '-74.6175331 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD LOT 51B, WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.0428 | '-74.61733146 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 52, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0428 | '-74.61713759 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 53, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0427 | '-74.61695149 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 54, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0427 | '-74.61675762 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 55, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0426 | '-74.61654823 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 56, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0426 | '-74.61633114 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 57, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0426 | '-74.61613729 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 58, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0425 | '-74.61592013 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 59, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0425 | '-74.61564878 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 60, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0424 | '-74.6154316 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 61, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0423 | '-74.61519123 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 62, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0423 | '-74.61493536 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 63, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0423 | '-74.61467947 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 64, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0422 | '-74.61444683 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 65, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0422 | '-74.61417547 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 66, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0421 | '-74.61390409 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 67, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0421 | '-74.61360951 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 68, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0421 | '-74.61333816 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 69, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.042 | '-74.61309543 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 70, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.042 | '-74.61284198 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 71, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.042 | '-74.61267451 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 72, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.042 | '-74.61246054 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 73, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.042 | '-74.61219072 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 74, WRIGHTSTOWN, NJ, 08562-1543 | 08562-1543 | WRIGHTSTOWN |  |  |  |  | 40.0419 | '-74.61192097 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 75, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0419 | '-74.6116604 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 76, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0419 | '-74.61142859 |  | NL |  | C |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 77, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0419 | '-74.61115807 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 78, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.613396 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 79, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0418 | '-74.61066501 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 80, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0418 | '-74.61044244 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 81, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0418 | '-74.61015333 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 82, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0417 | '-74.60989285 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 84, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0417 | '-74.60939047 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 85, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0417 | '-74.60915788 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 86, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.61326338 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 87, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0416 | '-74.60868343 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 88, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0416 | '-74.60847875 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 89, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0416 | '-74.60829269 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 90, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0416 | '-74.60810664 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 91, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.60790195 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 92, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.60767867 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 93, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0416 | '-74.61413422 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 94, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0405 | '-74.6132263 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 95, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0416 | '-74.6138086 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 96, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0416 | '-74.61365046 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 97, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.61354881 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 98, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0405 | '-74.61318209 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 99, WRIGHTSTOWN, NJ, 08562-1544 | 08562-1544 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.61331555 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 100, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.61320391 |  | NL |  | C |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 101, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.61309229 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 102, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.61298995 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 103, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.61287831 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 104, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.61276668 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 105, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.61267364 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 106, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.61256202 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 107, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.6124597 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 108, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.61235736 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 109, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0414 | '-74.61225501 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 110, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.61332612 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 111, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0414 | '-74.61201311 |  | NL |  | P |  | O | NOT LEAD |  |  |  | F1, O | Institutional Knowledge
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 112, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0414 | '-74.61190764 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 113, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0414 | '-74.61177316 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 114, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0414 | '-74.61164901 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 115, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0414 | '-74.61150584 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 117, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0413 | '-74.61129394 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 118, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0413 | '-74.61119641 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 119, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0413 | '-74.61108612 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 120, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0413 | '-74.61098913 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD LOT 121, WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.0413 | '-74.61088808 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD LOT 122, WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.0413 | '-74.61077317 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 123, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0413 | '-74.61066694 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 124, WRIGHTSTOWN, NJ, 08562-1545 | 08562-1545 | WRIGHTSTOWN |  |  |  |  | 40.0413 | '-74.61056127 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 126, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0412 | '-74.61040679 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 127, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0412 | '-74.61028636 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 129, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0412 | '-74.61006965 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 130, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0412 | '-74.60990695 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 131, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0412 | '-74.60975899 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 132, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0412 | '-74.60964652 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 133, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0412 | '-74.60954992 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 134, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0412 | '-74.6094482 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 135, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0412 | '-74.60934597 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 136, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0412 | '-74.609254 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 137, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0412 | '-74.6091569 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 138, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0411 | '-74.60906081 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 139, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.6133632 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 140, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0411 | '-74.60888661 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 141, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0411 | '-74.60879314 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 142, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0411 | '-74.60869654 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 143, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0411 | '-74.60861794 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 144, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0411 | '-74.60852184 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 145, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.041 | '-74.61360546 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 146, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.041 | '-74.61348529 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 147, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.041 | '-74.61334098 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 148, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.041 | '-74.61319412 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 149, WRIGHTSTOWN, NJ, 08562-1546 | 08562-1546 | WRIGHTSTOWN |  |  |  |  | 40.0409 | '-74.61295019 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 150, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0409 | '-74.61284903 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 152, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0409 | '-74.61274273 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 153, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0409 | '-74.61264105 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 154, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0409 | '-74.61253885 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 155, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0409 | '-74.61243463 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 156, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0409 | '-74.61233242 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 157, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0409 | '-74.6122364 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 158, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0409 | '-74.61213472 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 159, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0409 | '-74.61204177 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 160, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0408 | '-74.61195499 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 161, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0408 | '-74.61184468 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 162, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0408 | '-74.61172296 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 163, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0408 | '-74.61159497 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 164, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0408 | '-74.61145162 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 165, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0408 | '-74.61132164 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 166, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0407 | '-74.61125777 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD LOT 167A, WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.0407 | '-74.6111233 |  | NL |  | P |  | O | NOT LEAD |  |  |  | F1, O | Institutional Knowledge
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 167B, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0407 | '-74.61102669 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 168, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0407 | '-74.61093519 |  | NL |  | O | NOT LEAD | C |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 169, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0407 | '-74.61083808 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 170, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0407 | '-74.61074048 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 171, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0407 | '-74.61065361 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 172, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0407 | '-74.61058923 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 173, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0407 | '-74.610465 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 174, WRIGHTSTOWN, NJ, 08562-1547 | 08562-1547 | WRIGHTSTOWN |  |  |  |  | 40.0407 | '-74.61037202 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 175, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.61026715 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 176, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.61019696 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 177, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.61007155 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 178, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.61333611 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 179, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.60986473 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 180, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.60976455 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 181, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.60968476 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 182, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.60953588 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 183, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.60947502 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 184, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.60939251 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 185, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0407 | '-74.60930765 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 186, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0407 | '-74.60923228 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 187, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0408 | '-74.60916589 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 188, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0408 | '-74.60910274 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 188B, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0408 | '-74.60902652 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 189, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0409 | '-74.60896989 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 190, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.041 | '-74.6088902 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 191, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.041 | '-74.6088238 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 192, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0424 | '-74.61273149 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 193, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0423 | '-74.61271699 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 194, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0422 | '-74.61273416 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 195, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0422 | '-74.61269411 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 196, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0421 | '-74.6126819 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 197, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.042 | '-74.61267814 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 198, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0419 | '-74.61267789 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 199, WRIGHTSTOWN, NJ, 08562-1548 | 08562-1548 | WRIGHTSTOWN |  |  |  |  | 40.0418 | '-74.61268152 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 200, WRIGHTSTOWN, NJ, 08562-1549 | 08562-1549 | WRIGHTSTOWN |  |  |  |  | 40.0406 | '-74.6132919 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 201, WRIGHTSTOWN, NJ, 08562-1549 | 08562-1549 | WRIGHTSTOWN |  |  |  |  | 40.0417 | '-74.61268001 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 202, WRIGHTSTOWN, NJ, 08562-1549 | 08562-1549 | WRIGHTSTOWN |  |  |  |  | 40.0416 | '-74.61266584 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 204, WRIGHTSTOWN, NJ, 08562-1549 | 08562-1549 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.61266382 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 205, WRIGHTSTOWN, NJ, 08562-1549 | 08562-1549 | WRIGHTSTOWN |  |  |  |  | 40.0415 | '-74.61380817 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD LOT 206A, WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.0414 | '-74.61379744 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD LOT 206B1, WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.0413 | '-74.61377953 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD LOT 206B2, WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.0412 | '-74.6137745 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD LOT 206C, WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.0412 | '-74.61376484 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD LOT 206D, WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.0411 | '-74.61371634 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD LOT 206E, WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.041 | '-74.61367441 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 207, WRIGHTSTOWN, NJ, 08562-1549 | 08562-1549 | WRIGHTSTOWN |  |  |  |  | 40.0409 | '-74.61360106 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 208, WRIGHTSTOWN, NJ, 08562-1549 | 08562-1549 | WRIGHTSTOWN |  |  |  |  | 40.0408 | '-74.61353212 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 209, WRIGHTSTOWN, NJ, 08562-1549 | 08562-1549 | WRIGHTSTOWN |  |  |  |  | 40.0407 | '-74.61349653 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 210, WRIGHTSTOWN, NJ, 08562-1549 | 08562-1549 | WRIGHTSTOWN |  |  |  |  | 40.0405 | '-74.6132263 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 211, WRIGHTSTOWN, NJ, 08562-1549 | 08562-1549 | WRIGHTSTOWN |  |  |  |  | 40.0413 | '-74.60832127 |  | NL |  | P |  | P |  |  |  |  | F1
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 212, WRIGHTSTOWN, NJ, 08562-1549 | 08562-1549 | WRIGHTSTOWN |  |  |  |  | 40.0413 | '-74.6083109 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 213, WRIGHTSTOWN, NJ, 08562-1549 | 08562-1549 | WRIGHTSTOWN |  |  |  |  | 40.0417 | '-74.60767461 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 214, WRIGHTSTOWN, NJ, 08562-1549 | 08562-1549 | WRIGHTSTOWN |  |  |  |  | 40.0417 | '-74.60766712 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 511 WRIGHTSTOWN SYKESVILLE RD , WRIGHTSTOWN, NJ, 08562 | 08562 | WRIGHTSTOWN |  |  |  |  | 40.0418 | '-74.60762209 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 511 WRIGHTSTOWN SYKESVILLE RD UNIT 34, WRIGHTSTOWN, NJ, 08562-1542 | 08562-1542 | WRIGHTSTOWN |  |  |  |  | 40.0431 | '-74.617695 |  | NL |  | P |  | P |  |  |  |  | F1