## Service Line Inventory
DEP_10-S_00014.3 |  |  | Service Line Inventory Report
06/2022 |  |  | New Jersey Department of Environmental Protection
Division of Water Supply and Geoscience - Water System Operations Element
I. System Information |  |  |  | II. Contact Information for Owner/ Licensed Operator of Record Completing the Form
Water System Name: | Aqua NJ _ Bear Brook |  |  | Contact Name: |  | Alissa Vanim
PWSID Number: | NJ1907002 |  |  | Contact Title: |  | Manager of Environmental Compliance
|  |  |  | Contact Phone: |  | 609-587-4080 x56526
|  |  |  | Contact Email: |  | arvanim@aquaamerica.com
III. Inventory Information
Owner of Service Lines:
[9 empty] | Selection | Number of sites
I. Lead | [9 empty] | 0
II. Galvanized | [9 empty] | 0
III. Lead gooseneck, pigtail, or connector | [9 empty] | 0
IV. Lead Status Unknown | [9 empty] | 0
V. Non-lead | [9 empty] | 85
|  | # of LSLs to be replaced/identified: |  | 0 |  |  | # of LSLs to be replaced annually: |  |  | 0
|  | Total # of service lines in PCWS: |  | 85 |  |  | # of known LSLs |  |  | 0
IV. Inventory Availability
This inventory has been made publicly accessible by:
| If 3,300 customers or greater: Posting the inventory on my water system's website | [5 empty] | Website: | https://www.aquaamerica.com/our-states/new-jersey.aspx
| If under 3,300 customers: Posting the inventory in a publicly accessible place, if a website is not available | [5 empty] | Inventory is available via: |  |  | Website above
V. Certifications
By submitting this form, I have verified and certify the information listed in this form is true and accurate to the best of my knowledge and belief.
| Water System Owner or Licensed Operator Name |  |  |  | Date |  |  | Title (if WS Owner)
| Email |  |  |  | Phone Number |  |  | License Number (if LO)
*This form must be submitted by the Water System Owner or its Licensed Operator of Record.*
Property Owner
System
Both

## Service Line Inventory Table
PBCU Sample Site ID (e.g. PBCU01) (Optional) | Street Address | Zip Code | Town | Lot (Optional) | Block (Optional) | Easting (X) (Optional) | Northing (Y) (Optional) | Latitude (Optional) | Longitude (Optional) | Locational Identifier (Optional) | Service Line Category | Suspected to be lead? (Y/N) (Complete if answered UL for column L) | Public Service Line Materials | Public Service Line - Other Materials (Provide only if Column N is indicated as O) | Customer Service Line Materials | Customer Service Line - Other Materials (Only provide if Column P is indicated as O) | PWS Service Line Install Date (Optional) | Customer Service Line Install Date (optional) | Service Line Length (ft.) (Optional) | PCWS Service Line - Verification Source | PCWS Service Line - Other Source (Provide only if Column U is indicated as O) | PCWS Service Line - Reasoning | PCWS Service Line - Steps to be Taken to ID | Customer Service Line - Verification Source | Customer Service Line - Other Source (Provide only if Column Y is indicated as O) | Customer Service Line- Reasoning | Customer Service Line - Steps to be Taken to ID | Attachments (Y/N) (Optional) | PCWS Service Line Diameter (Optional)2 | Customer Service Line Diameter (optional) | Building Type (Optional) | PCWS Comments (Optional) | DEP Comments
| 27 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0135 | '-74.82349565 |  | NL |  | C |  | P |  |  |  |  | F1
| 7 PINE VALLEY RD , NEWTON, NJ, 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0192 | '-74.82812866 |  | NL |  | C |  | C |  |  |  |  | F1
| 10 SPYGLASS HL , NEWTON, NJ, 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0155 | '-74.82201709 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 25 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0138 | '-74.82406733 |  | NL |  | C |  | P |  |  |  |  | F1
| 9 SPYGLASS HL , NEWTON, NJ, 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0162 | '-74.82265134 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 8 SPYGLASS HL , NEWTON, NJ, 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0155 | '-74.82257814 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 36 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0137 | '-74.82064537 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 5 AUGUSTA CT , NEWTON, NJ, 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.0123 | '-74.82263191 |  | NL |  | C |  | P |  |  |  |  | F1
| 38 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.014 | '-74.82057025 |  | NL |  | C |  | O | NOT LEAD |  |  |  | F1, RRN
| 32 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0134 | '-74.82138578 |  | NL |  | C |  | O | NOT LEAD |  |  |  | F1, RRN
| 5 SPYGLASS HL , NEWTON, NJ, 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0155 | '-74.82339135 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 2 AUGUSTA CT , NEWTON, NJ, 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.0129 | '-74.82298672 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 3 SPYGLASS HL , NEWTON, NJ, 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0151 | '-74.82374666 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 7 SPYGLASS HL , NEWTON, NJ, 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0158 | '-74.82292411 |  | NL |  | C |  | P |  |  |  |  | F1
| 40 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0142 | '-74.82070815 |  | NL |  | C |  | C |  |  |  |  | F1
| 31 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0135 | '-74.8221974 |  | NL |  | C |  | O | NOT LEAD |  |  |  | F1, RRN
| 4 AUGUSTA CT , NEWTON, NJ, 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.0124 | '-74.8230755 |  | NL |  | C |  | P |  |  |  |  | F1
| 37 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0143 | '-74.82109028 |  | NL |  | C |  | P |  |  |  |  | F1
| 30 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0133 | '-74.82182052 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 34 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0135 | '-74.82093811 |  | NL |  | C |  | P |  |  |  |  | F1
| 7 AUGUSTA CT , NEWTON, NJ, 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.0119 | '-74.82291115 |  | NL |  | C |  | P |  |  |  |  | F1
| 29 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0134 | '-74.82273633 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 10 SEMINOLE CT , NEWTON, NJ, 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0164 | '-74.83004805 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 12 SPYGLASS HL , NEWTON, NJ, 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0158 | '-74.821801 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 8 SEMINOLE CT , NEWTON, NJ, 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0165 | '-74.82978809 |  | NL |  | C |  | P |  |  |  |  | F1
| 4 SPYGLASS HL , NEWTON, NJ, 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0148 | '-74.82338004 |  | NL |  | C |  | C |  |  |  |  | F1
| 10 AUGUSTA CT , NEWTON, NJ, 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.0113 | '-74.82388015 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 35 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0142 | '-74.82144772 |  | NL |  | C |  | P |  |  |  |  | F1
| 28 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0131 | '-74.82235885 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 6 SPYGLASS HL , NEWTON, NJ, 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0153 | '-74.82303611 |  | NL |  | C |  | P |  |  |  |  | F1
| 3 AUGUSTA CT , NEWTON, NJ, 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.0126 | '-74.82252409 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 6 AUGUSTA CT , NEWTON, NJ, 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.012 | '-74.82342652 |  | NL |  | C |  | P |  |  |  |  | F1
| 6 SEMINOLE CT , NEWTON, NJ, 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0167 | '-74.82955775 |  | NL |  | C |  | P |  |  |  |  | F1
| 4 SEMINOLE CT , NEWTON, NJ, 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0169 | '-74.82948934 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 28 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0154 | '-74.83171238 |  | NL |  | C |  | C |  |  |  |  | F1
| 14 SPYGLASS HL , NEWTON, NJ, 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0161 | '-74.82188716 |  | NL |  | C |  | P |  |  |  |  | F1
| 14 SEMINOLE CT , NEWTON, NJ, 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0149 | '-74.8313053 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 16 SEMINOLE CT , NEWTON, NJ, 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0147 | '-74.83154899 |  | NL |  | C |  | C |  |  |  |  | F1
| 6 PINE VALLEY RD , NEWTON, NJ, 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0185 | '-74.82812043 |  | NL |  | C |  | C |  |  |  |  | F1
| 33 PLAYERS BLVD , NEWTON, NJ, 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0138 | '-74.82156308 |  | NL |  | C |  | P |  |  |  |  | F1
| 17 TROON DR , NEWTON, NJ, 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.0157 | '-74.83113915 |  | NL |  | C |  | P |  |  |  |  | F1
| 12 SEMINOLE CT , NEWTON, NJ, 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0151 | '-74.83123787 |  | NL |  | C |  | P |  |  |  |  | F1
| 8 PINE VALLEY RD , NEWTON, NJ, 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0188 | '-74.82790667 |  | NL |  | O | NOT LEAD | P |  |  |  |  | RRN, F1
| 5 SEMINOLE CT , NEWTON, NJ, 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.017 | '-74.82886094 |  | NL |  | C |  | P |  |  |  |  | F1
| 11 SPYGLASS HL , NEWTON, NJ, 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0163 | '-74.8222865 |  | NL |  | C |  | P |  |  |  |  | F1
| 4 PINE VALLEY RD , NEWTON, NJ, 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0183 | '-74.8284676 |  | NL |  | C |  | C |  |  |  |  | F1
| 3 PINE VALLEY RD , NEWTON, NJ, 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0185 | '-74.8287822 |  | NL |  | C |  | P |  |  |  |  | F1
| 24 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0159 | '-74.83191141 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 20 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0164 | '-74.8316695 |  | NL |  | C |  | C |  |  |  |  | F1
| 14 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0168 | '-74.83090576 |  | NL |  | C |  | C |  |  |  |  | F1
| 13 TROON DR , NEWTON, NJ, 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.0161 | '-74.830939 |  | NL |  | C |  | C |  |  |  |  | F1
| 10 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0172 | '-74.83064447 |  | NL |  | C |  | C |  |  |  |  | F1
| 7 TROON DR , NEWTON, NJ, 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.0166 | '-74.83024689 |  | NL |  | C |  | C |  |  |  |  | F1
| 3 TROON DR , NEWTON, NJ, 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.017 | '-74.82988611 |  | NL |  | C |  | C |  |  |  |  | F1
| 2 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0178 | '-74.83009584 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 1 TROON DR , NEWTON, NJ, 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.0171 | '-74.82958537 |  | NL |  | C |  | P |  |  |  |  | F1
| 19 SEMINOLE CT , NEWTON, NJ, 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0158 | '-74.83020042 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 15 SEMINOLE CT , NEWTON, NJ, 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0159 | '-74.82957573 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 13 SEMINOLE CT , NEWTON, NJ, 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0161 | '-74.82930316 |  | NL |  | C |  | P |  |  |  |  | F1
| 9 SEMINOLE CT , NEWTON, NJ, 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0165 | '-74.82893399 |  | NL |  | C |  | C |  |  |  |  | F1
| 16 PINE VALLEY RD , NEWTON, NJ, 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0199 | '-74.82773387 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 14 PINE VALLEY RD , NEWTON, NJ, 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0197 | '-74.82754714 |  | NL |  | C |  | C |  |  |  |  | F1
| 12 PINE VALLEY RD , NEWTON, NJ, 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0194 | '-74.82762843 |  | NL |  | C |  | C |  |  |  |  | F1
| 10 PINE VALLEY RD , NEWTON, NJ, 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0191 | '-74.82774699 |  | NL |  | C |  | C |  |  |  |  | F1
| 5 PINE VALLEY RD , NEWTON, NJ, 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0188 | '-74.82838999 |  | NL |  | C |  | O | NOT LEAD |  |  |  | F1, RRN
| 2 PINE VALLEY RD , NEWTON, NJ, 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0179 | '-74.82878549 |  | NL |  | C |  | C |  |  |  |  | F1
| 1 PINE VALLEY RD , NEWTON, NJ, 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0181 | '-74.82907804 |  | NL |  | C |  | P |  |  |  |  | F1
| 21 SEMINOLE CT , NEWTON, NJ, 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0156 | '-74.83046793 |  | NL |  | C |  | C |  |  |  |  | F1
| 17 SEMINOLE CT , NEWTON, NJ, 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0159 | '-74.82985609 |  | NL |  | C |  | C |  |  |  |  | F1
| 11 SEMINOLE CT , NEWTON, NJ, 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0163 | '-74.8290839 |  | NL |  | C |  | C |  |  |  |  | F1
| 7 SEMINOLE CT , NEWTON, NJ, 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0167 | '-74.82875113 |  | NL |  | O | NOT LEAD | C |  |  |  |  | RRN, F1
| 3 SEMINOLE CT , NEWTON, NJ, 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0172 | '-74.82889453 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 1 SEMINOLE CT , NEWTON, NJ, 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0174 | '-74.82894583 |  | NL |  | C |  | C |  |  |  |  | F1
| 30 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0152 | '-74.83147022 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 26 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0156 | '-74.83187892 |  | NL |  | C |  | C |  |  |  |  | F1
| 22 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0161 | '-74.83181354 |  | NL |  | C |  | C |  |  |  |  | F1
| 18 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0166 | '-74.83139338 |  | NL |  | C |  | C |  |  |  |  | F1
| 16 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0167 | '-74.83110272 |  | NL |  | C |  | C |  |  |  |  | F1
| 15 TROON DR , NEWTON, NJ, 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.016 | '-74.83117141 |  | NL |  | C |  | P |  |  |  |  | F1
| 12 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.017 | '-74.83078697 |  | NL |  | C |  | C |  |  |  |  | F1
| 9 TROON DR , NEWTON, NJ, 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.0164 | '-74.830346 |  | NL |  | C |  | C |  |  |  |  | F1
| 8 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0174 | '-74.83040145 |  | NL |  | C |  | C |  |  |  |  | F1
| 6 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0177 | '-74.82956414 |  | NL |  | C |  | P |  |  |  |  | F1
| 5 TROON DR , NEWTON, NJ, 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.0168 | '-74.83006624 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | RRN
| 4 TROON DR , NEWTON, NJ, 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0178 | '-74.82985075 |  | NL |  | C |  | C |  |  |  |  | F1